## Ark1
Equipment: | Hamilton Microlab STAR M Liquid Handler
S/N: | 291E
| Date | Number of runs | Status | Comments
Date of manufacture | 07.05.2020
Taken into use | 16.12.2020 | 9670
PM 1 | 01.02.2021 |  | Passed
PM 2 | 07.05.2021 |  | Passed
PM 3 | 30.08.2021 |  | Passed
PM 4 | 11.01.2022 |  | Passed
PM 5 | 07.09.2022 |  | Not passed | Did not pass PM. The TADM Head needs to be replaced. Verification test was made 05.10.2022 where all tests were passed.
PM 6 | 16.11.2022 |  | Passed | Have not received PM report
TADM Head 1 | 11.08.2021 | 4519
TADM Head 2 | 17.10.2022 | 237
IQ |  |  | Available
OQ |  |  | Available
The following is included:
- Computer + screen
- Keyboard + mouse
- Handheld barcode scanner
- Maintenance Tool 96-H TADM (Hamilton)
- Plates and Solution Kits (Hamilton)
- Venus Software Programmer's Manuel (Hamilton)
- easyCode II: Installation Package 3.3.1
- Venus Software: Dynamic Liquid Classification Software Package 1.1.0
- Venus Software: TADM feature 5.1
- Venus Software: Data base plus
- Venus four: Base Package 4.5
- Venus Software: Dynamic scheduler 5.1
- 5 Hamilton Heater Shakers
- easyCode Carrier